THE GREEN KEY 

AN ECO-LABEL FOR 

LEISURE ORGANISATIONS
[image: image11.jpg]D

The Green
Key




BASELINE CRITERIA FOR

HOTELS, YOUTH HOSTELS, CONFERENCE 

AND HOLIDAY CENTRES
2009-2010

These criteria apply to all forms of Hotels, Youth hostels, Conference and Holiday centres
Introduction
Mission: The Green Key is a program of FEE. Purpose of the program is to develop and manage an eco-label for environmental and sustainability issues in leisure organisations.

Green Key is conducted with the certification program as a means to increase the awareness of the owner, staff and client of their potential for environmental and sustainability issues in their direct (natural) environment and offers perspective to act.

Aim:

The Green Key pursues 4 goals: 

· Environmental and sustainable education of the owner, the staff and the client;

· Environmental and sustainable, preservation by the reduction of the impacts of the facility;

· Economical management as a reduction of the consumption induce a reduction of the costs;

· Marketing strategy with the promotion of the label and the facilities awarded;

The Green Key owns three sets of international baseline criteria:

· Camp sites

· Hotels, youth hostels and conference and holiday centre

Criteria

The baseline criteria for the Green Key for hotels, youth hostels, conference and holiday centre

 applies to all organisations with the main activity of facilitating overnight staying and meetings. The criteria are divided into the categories mandatory and optional criteria (O).
The mandatory criteria are to be fulfilled in every Green Key establishment. In the formulation, they can be with or without a time frame.
National Operators can decide to rewrite the baseline criteria to one particular group or kind of camp sites where they apply to on a international level. By example in your country a lot of campsites are situated on active farms, they have in common that there are no facilities like restaurants, pools, receptions, etc. If this group have a strong wish for a Green Key label, it can be decided to use the baseline criteria for developing a National set of criteria for this particular kind of camp sites. 
The optional criteria are designed primarily for applicants who wish to pursue more rigorous environmental management. They are a tool that the national operators can and should use for environmental education towards professionals.

All the optional criteria must be in the national set of criteria, even if they remain optional. The way they are used is to be decided by the national operator. 
National adaptation:

The international criteria should be adapted to national conditions and in order to do so the national Green Key criteria set can contain up to a maximum of 20 percent national additions. This does not mean that 20% extra national criteria must to be added, this is the free space that National Operators have to nationalize the criteria. The international coordinator estimates when then 20 percent national additions have been reached. There are mainly three ways to make national additions:
1. Some of the optional criteria from the international criteria can be made mandatory in the national set of criteria. 
2. Mandatory criteria can be strengthen.

3. Extra criteria can be added, which are not part of the international criteria set. The national additions should focus on the topics: 
a. environmental management

b. staff involvement, 
c. guest information

d. water

e. waste and energy savings

f. washing and cleaning

g. food and beverages

h. indoor environment,

i. parks and parking areas,

j. green activities and 
k. administration

The International Steering Committee focuses on the topics in the international criteria set and they are unlikely to accept national additions that involve other issues.
Approval of criteria:

The International Steering Committee must approve every national set. Procedure (the criteria must be translated in English for a common understanding):

1) The national operator sends a proposition to his/her coordinator and start exchanges about adaptations, formulation…

2) The coordinator sends the proposition to the international steering committee (by email) with potential comments.

3) The ISC make the final decision with potential requirements.
Revision of criteria:

The international criteria can be revised every 3 years.

If a national operator wishes to make revision of the international criteria, he/she can:

1) offer a suggestion to the coordinator;
2) this will be discussed at the next national operators meeting;
3) the ISC makes the final decision;
The national criteria can be revised and should follow the same procedure as above.
	I.


	ENVIRONMENTAL MANAGEMENT
	[image: image12.png]




	I.1
	Management must appoint an environmental manager.
	(

	I.2
	The business must have an environmental policy. The environmental policy must be ready no later that six months after the business has been awarded The Green Key.
	(

	I.3
	Objectives and an action plan for constant improvement must be formulated. Objectives and action plan must be ready no later that six month after the business has been awarded The Green Key.
	(

	I.4
	The business must establish and maintain a binder containing relevant documentation concerning The Green Key. 
	(

	I.5
	The business must comply with the environmental legislation of the respective country.
	(

	I.6
	The environmental manager of the company must insure a yearly procedure of the Green Key criteria.
	(

	I.7
	The firm must not be placed on a perimeter that is recognised to be polluted by the national authorities and that present a major risk for health and security of the guests.
	(

	I.8
	The business should establish active collaboration with relevant stakeholders (O).
	(

	II.
	STAFF INVOLVEMENT
	[image: image13.png]




	II.1
	Management must have a meeting with the staff, where they are briefed on issues concerning existing and new environmental initiatives.
	(

	II.2
	The environmental manager must participate in meetings with management with the purpose of presenting the environmental developments of the business.
	(

	II.3
	The environmental manager and other staff members working with environmental tasks must participate in a training course concerning environmental issues. The Green Key operator provides basic training.
	(

	II.4
	The environmental manager must ensure that the employees have knowledge about the environmental assignments and issues concerning the business. 
	(

	III.
	GUEST INFORMATION
	[image: image1.emf]

	III.1
	The business must display clearly that it has been awarded The Green Key.
	(

	III.2
	The business must keep the guests informed about the environmental issues of the business and indicate how the guests can participate.
	(

	III.3
	Information material about The Green Key must be visible and accessible to the guests.
	(

	III.4
	Front desk staff must be able to give an account of the present environmental activities of the business.
	(

	III.5
	The business should be able to inform guests about public transportation.
	(

	III. 6
	There are visible signs for guests and staff concerning energy and water saving (television in room, lights, heat, etc.)
	(

	III.7
	The business should provide its guest with a questionnaire supplying feedback from the guests concerning the environmental activities of the business (O). 
	(

	IV.
	WATER
	[image: image2.emf]

	IV.1
	The total water consumption must be registered at least once a month. 
	(

	IV.2
	Newly purchased toilets are not allowed to flush more than 6 litres per flush.
	(

	IV.3
	Dripping taps and leaky toilets are not allowed. 
	(

	IV.4
	Each bathroom must have a waste bin.
	(

	IV.5
	Water flow from showers must not exceed more than 9 litres per minute. At least 50% of the showers. 
	(

	IV.6
	Water flow from taps must not exceed more than 8 litres per minute. At least 50% of the taps.
	(

	IV.7
	Urinals are not allowed to use more flushing water than necessary.
	(

	IV.8
	Newly purchased cover or tunnel dishwashers are not allowed to consume more water than 3,5 litres per basket.
	(

	IV.9
	Instructions displaying recommendations for saving water during operation of dishwashers must be displayed near the machine.
	(

	IV.10
	All wastewater must be treated. Where treatment of wastewater is regulated through national or local regulation, treatment must comply with this regulation.
	(

	IV.11
	Liquid hazardous chemical should be stored avoiding leaks that can damage the environment.
	(

	IV.12
	Newly purchased dishwashers are not allowed to be conventional domestic appliances (O).
	(

	IV.13
	Separate water meters should be installed in areas with a high degree of water consumption (O).
	(

	IV.14
	The business should declare to the water authority its willingness to switch to a different water source (O). 
	(

	IV.15
	Waste waters should be re-used (after treatment) (O).
	(

	IV.16
	Toilets are flushed with rain water (O).
	(

	V.
	WASHING AND CLEANING
	[image: image3.emf]

	V.1
	There must me signs in bathrooms and restrooms informing guests that sheets and towels will only be changed upon request.  
	(

	V.2
	Newly purchased chemical cleaning products and products for washing are not allowed to contain agents that are listed in The Green Key’s “Requirements related to cleaning and washing articles in Green Key businesses.” 
	(

	V.3
	Staff must be trained to use disinfectants only where necessary and in respect of concentration as indicated on the packaging
	(

	V.4
	In European countries, paper towels and toilet paper must be made of non-chlorine bleached paper or must be awarded with an eco-label. A period of one year is given to applicants  to comply with this criteria.  
	(

	V.5
	In countries outside Europe: paper towels and toilet paper must be made of non-chlorine bleached paper or must be awarded with an eco-label(O).
	(

	VI
	WASTE
	[image: image4.emf]

	VI.1
	The business must separate waste into the categories, which can be handled separately by the local or national waste management facilities.
	(

	VI.2
	If the local waste management authorities do not collect waste at or near the business, the business must ensure transportation of its waste to the nearest appropriate site for waste treatment.
	(

	VI.3
	Instructions on how to separate and handle waste must be easily available to the staff.
	(

	VI.4
	Disposable cups, plates, and cutlery must only be used in the pool areas, at certain music-arrangements and in connection with diner transportable.
	(

	VI.5
	Toiletries such as shampoo, soap, shower caps, etc. in rooms must not be packaged in single dose containers. If so, they must be packaged in recyclable material (O).
	(

	VI.6
	Guests must have the possibility to separate waste into the categories that can be handled by the waste management facilities as per VI.1 (O).
	(

	VI.7
	Single dose packages for cream, butter, jam etc. must either not be used or must be packaged in recyclable material (O).
	(

	VI.8
	The business should make arrangements for the collection and disposal of packaging with the appropriate supplier (O).
	(

	VII.
	ENERGY
	[image: image5.emf]

	VII.1
	Energy use must be registered at least once a month.
	(

	VII.2
	Heating and air-conditioning control systems must be implemented when the accommodations are not in use. The control systems must be in place a year after the businesses has been awarded The Green Key.
	(

	VII.3
	All windows must have an appropriately high degree of thermal insulation in compliance with the local climate. Appropriate thermal insulation must be in place a year after the businesses has been awarded with The Green Key. The appropriateness is decided by the National Steering Group and approved by the International Steering Committee.
	(

	VII.4
	The surfaces of the heat / cooling exchanger of the ventilation plant must be cleaned.
	(

	VII.5
	Fat filters in the exhaust must be cleaned.
	(

	VII.6
	The ventilation system must be controlled and repaired if necessary in order to be energy efficient at all times.
	(

	VII.7
	Refrigerators, cold stores, heating cupboards and ovens must be equipped with intact draught excluders.
	(

	VII.8
	Newly purchased pumps and refrigeration plants must not use CFC refrigerants. All equipment must always comply with national legislation on phasing out refrigerants.
	(

	VII.9
	Newly purchased minibars must not have an energy consumption of more than 1 kWh/day.
	(

	VII.10
	Refrigerators are turned off when holiday flats and holiday houses are not let.
	(

	VII.11
	Televisions are turned off when holiday flats and holiday houses are not let. 
	(

	VII.12
	At least 20% of the light bulbs are Class-A. The hotel should replace other light bulbs at a maximum rate wherever it is technically possible. Reasons for not having energy efficient light bulbs must be clearly explained. 
	(

	VII.13
	The business must show efforts concerning savings of water or energy in relation to every unit that has a higher level of water or energy consumption, i.e. sauna, hammam, swimming pool, spa, solarium, etc. 
	(

	VII.14
	An energy consultant should visit the firm (O).
	(

	VII.15
	Heating from electric panels or other forms of direct functioning electric heating are not allowed (O).
	(

	VII.16
	The business should use renewable energy (O).
	(

	VII.17
	Ventilation plants should be equipped with an energy-optimum ventilator and an energy-conserving engine (O).
	(

	VII.18
	Automatic systems that turn the lights off when guests leave their room should be installed (O).
	(

	VII.19
	Unnecessary outside lights should be turned off automatically (O).
	(

	VII.20
	Separate electricity meters should be installed at strategically important places for energy monitoring (O).
	(

	VII.21
	Air-conditioning should automatically switch off when windows are open (O).
	(

	VII.22
	The building should be insulated above the minimal national requirements to ensure a significant reduction of energy consumption (O).
	(

	VII.23
	A heat recovery system for refrigeration systems, ventilators, swimming pools or sanitary wastewater should be installed (O).
	(

	VII.24
	Hot water pipes should be integrally isolated (O).
	(

	VII.25
	The call of lifts must be well organized (O).
	(

	VII.26
	Automatic systems for energy-efficient lighting (O).
	(

	VII.27
	The accommodation has a key card system to ensure that electrical appliances are switched off in rented rooms when the occupants are out” (O).
	(

	VII.28
	Computers and copying machine switch off after a maximum of one non-used hour (O).
	(

	IIX.
	FOOD AND BEVERAGE
	[image: image6.emf]

	IIX.1
	The business must register its purchase of labelled (locally produced, organic or whatever feasible in each country) foods. After 12 months, the percentage of labelled products must be at least 5 of all foods measured in money.
	(

	IIX.2
	The share of labelled foods must be maintained or increase each year. If not, the reasons must be communicated to The Green Key national operator. 
	(

	IX.
	INDOOR ENVIRONMENT
	[image: image7.emf]

	IX.1
	The business must respect legislation regarding polluting elements at the premises of the business.
	(

	IX.2
	A non-smoking section must be available in the restaurant. 
	(

	IX.3
	Non-smoking rooms must be available.
	(

	IX.4
	If the business makes larger interior changes the indoor climate must be considered as much as possible.
	(

	IX.5
	The business should have a personnel policy concerning smoking in working hours (O).
	

	IX.6
	The level of indoor background noise must not exceed 40 dBA during nighttime (O).
	

	X.
	PARKS AND PARKING AREAS
	[image: image8.emf]

	X.1
	Chemical pesticides and fertilizers can be used no more than once a year, but only if there is no organic or natural equivalent. 
	(

	X.2
	Newly purchased lawnmowers must either be electrically driven, use unleaded petrol, be equipped with a catalyst, be awarded with an eco-label, or be driven manually.
	(

	X.3
	Flowers and gardens must be watered before high sun or after sunset.
	(

	X.4
	Garden waste should be composted (O).
	

	X.5
	Rainwater should be collected and used for watering flowers and gardens (O).
	(

	X.6
	Gardens must be watered by a drip system (O).
	(

	XI.
	GREEN ACTIVITIES
	[image: image9.emf]

	XI.1
	Information material about nearby parks, landscape and nature conservation measures must be easily available to the guest.
	(

	XI.2
	The business must give information about the nearest place to rent or borrow bicycles.
	(

	XI.3
	The guests should have the opportunity to borrow or rent bicycles (O).
	(

	XI.4
	The business should sponsor green activities in the local area (O).
	(

	XI.5
	The business provides activities for consciousness-raising focused on sustainable development , environment, nature in or around the premises (O).
	(

	XII.
	ADMINISTRATION
	[image: image10.emf]

	XII.1
	All staff areas must fulfil the same criteria as guest areas. 
	(

	XII.2
	The stationery, brochures, etc. produced for the business must be awarded with an eco-label or be produced at a company with an environmental management system.
	(

	XII.3
	Hairdresser saloon, spa facilities, or the like, which are on the premises of the business, must be informed about environmental management of the business.
	(

	XII.4
	Newly purchased durables must have an eco-label or must be produced at a company with an environmental management system (O).
	(

	XII.5
	Use of motor vehicles at the accommodation by guests and staff is limited to a strict minimum (O).
	(


International Baseline Criteria Green Key for Hotels, Youth hostels, Conference and Holiday centres  2009 – 2010
9

